## BOQ_Full_Structure
No. | Description of works | Unit | Qty | U/Cost
2 | Mechanical works
02:01 | HVAC
02:01:01 | Supply and installing duct split unit 7.5 Tons | No | 1 | 15600
02:01:02 | Supply and installing duct split unit 5 Tons | No | 2 | 12500
02:01:03 | Supply and installing duct split unit 4 Tons | No | 3 | 10400
02:01:04 | Supply and installing duct split unit 2 Tons | No | 2 | 7600
02:01:05 | Supply and installing exhaust fan 5000 CFM | No | 1 | 6450
02:01:06 | Supply and installing exhaust fan 2500 CFM | No | 1 | 4340
02:01:07 | Supply and installing galvanize steel duct for AC system | M2 | 120 | 260
02:01:08 | Supply and installing 25kg insulation for duct | M2 | 120 | 50
02:01:09 | Supply and installing copper pipes for AC system | L.M | 240 | 120
02:01:10 | Supply and installing galvanize steel duct for Exhaust system | L.M | 40 | 200
02:02 | Plumbing Works
02:02:01 | Drainage
a | Supply and installing 4" UPVC pipe with all fittings | L.M | 50 | 100
b | Supply and installing 2" UPVC pipe with all fittings | L.M | 30 | 40
c | Supply and installing 4" Floor drain | No | 5 | 300
02:02:02 | Water Supply
a | Supply and installing 1" UPVC/CPVC hot & cold pipes | L.M | 30 | 40
b | Supply and installing 3/4" UPVC/CPVC hot & cold pipes | L.M | 45 | 35
c | Supply and installing 1/2" UPVC/CPVC hot & cold pipes | L.M | 20 | 25
3 | Electrical and low current
03:01 | Supply and installing Main distribution panel (MDB) | No | 1 | 10500
03:02 | Supply and installing Power panel for instruments (I-P) | No | 1 | 5600
03:03 | Supply and installing power panel for HVAC system (P-HVAC) | No | 1 | 6500
03:04 | Supply and installing emergency power panel (EM-P) | No | 1 | 4500
03:05 | Supply and installing lighting panel (L-P) | No | 1 | 4500
03:06 | Supply and installing power line from panel to benches | No | 38 | 320
03:07 | Supply and installing power supply for AC units | No | 10 | 520
03:08 | Supply and installing Data line CAT6 | No | 30 | 350
03:09 | Supply and installing 4x50mm cable | L.M | 1 | 190
03:10 | Supply and installing 4x35mm cable | L.M | 1 | 170
03:11 | Supply and installing 4x150mm cable | L.M | 1 | 260